Facility Modification Risk Assessment Worksheet

Project or Task:  _______________________________________________________

Location:  __________________________________________ Date:  _________________

Estimated Start Date: _______________Estimated Completion Date:  _________________

1. Infection Prevention/Control

Determine Risk Group and Activity Type from attached Risk Assessment Matrix:

Risk Group: ____________________ Activity Type: ________________________________

Environmental Containment or Barriers required?	            ( Yes		( No

(If YES proceed to Infection Prevention/Control Policy)

# 2. Utility Disruptions

Electrical Systems:				( Yes		( No

Emergency Power Systems:			( Yes		( No

HVAC Systems:				( Yes		( No

Medical Gas / Vacuum:			( Yes		( No

Waste / Vent:					( Yes		( No

Water:						( Yes		( No

Pneumatic Tube system:			( Yes		( No

Communications / Telephone:		( Yes		( No

(If YES to any of the above-listed systems, a Shutdown Request Permit must be completed to obtain required approvals and to provide required notification)

# 3. Life Safety

Fire Alarm System:					( Yes		( No

Sprinkler System:					( Yes		( No

Does it involve more than a one-room project:	( Yes		( No

Does it infringe on a patient care corridor:		( Yes		( No

Emergency egress closed during this project:	( Yes		( No

Fire or Smoke Separation Compromised:		( Yes		( No

(If YES to any of these questions, an Interim Life Safety Measures Determination Form (ILSM) must be completed then follow the appropriate procedures as outlined in the Interim Life Safety Plan)

# 4.  Wall / Floor Penetrations

Any penetrations of walls, ceiling, or floor:		( Yes		( No

If YES, list what Fire Stop System will be utilized. ___________________________________________

Fire stop System reviewed by _____________________ Date ______________________________

# 5. Vibration & Noise

Is there a potential for areas to be impacted by Noise or Vibration? ( Yes       ( No

If YES, an assessment of impact must be documented and mitigation measures implemented prior to project start.

# 6. Asbestos

Is the project in an area identified as having asbestos containing materials (ACM)? ( Yes( No

(Review Survey Documents, if YES workers must be documented as trained for Asbestos Awareness and given a copy of the Asbestos Notice to attach to the form.)

# 7. Mold

Is the project in an area identified as having any previous water damage or mold issues? ( Yes( No

(Review Survey Documents, if YES workers must be documented as trained for mold abatement for small projects.)

# 8. Lead

Is the project in an area identified as having been built prior to 1978 and or had any lead paint issues?

( Yes( No

(Review Survey Documents, if YES workers must be documented as trained for lead remediation for small projects.)

# If NO to all questions Sign below & file.

# If YES to any question, describe what is required to minimize or eliminate disruption and have the   procedures approved.

________________________________________________________________________________

________________________________________________________________________________

Assessment Completed by: ________________________ Approved by:  ____________________

Project Lead					Facility Representative

Adapted with permission from Healthcare Safety Consulting, 2012.